## char kinetic data
#FILE: | CharN_18_10_10.dsu
#FORMAT: | NETZSCH5
#IDENTITY: | CharN_18_10_10
#DECIMAL: | POINT
#SEPARATOR: | COMMA
#MTYPE: | DTA
#MSUBTYPE:
#INSTRUMENT: | NETZSCH STA 449 C
#PROJECT: | Torrefaction
#DATE/TIME: | 18/10/2010 10:44:37
#CORR. FILE: | buoyancy_drying_13_10_10.bsu
#LABORATORY: | Sustainable Research Energ
#OPERATOR: | A Saddawi
#REMARK:
#SAMPLE: | nonisoth oxid with init drying
#SAMPLE MASS /mg: | 10.42
#MATERIAL: | char
#REFERENCE: | Alumina
#REFERENCE MASS /mg: | 0
#TYPE OF CRUCIBLE: | DTA/TG crucible Al2O3
#SAMPLE CRUCIBLE MASS /mg: | 0
#REFERENCE CRUCIBLE MASS /mg: | 0
#CORR. CODE: | 20
#EXO: | -1
#RANGE: | 100.0/10.0(K/min)/900.0
#SEGMENT: | S4/5 | 1/T1 | 1/T2 | [7 empty] | 50% | 10% | 400 | 425 | 450 | 475 | 500 | 525 | 550 | 575
#DIV/0! | 452.4758 | #DIV/0! | 0.0013784 |  | ash mass,G | 0.9371 | 0.092037 | CharN_18_10_10.dsu |  |  | #DIV/0! | 0.013917 | 0.007107 | 0.0093397 | 0.013374 | 0.020349 | 0.033231 | 0.056552 | 0.099975 | 0.18367 | 0.35568 | 1.3801 | -0.23432
##Temp./øC | Time/min | DTA/(mW/mg) | Mass/% | DTG/(%/min) | Sensit./(æV/mW) | mass, g | m-minf, g | (m/minf)/(mo-minf) | dm/dt | 1/T(k) | k, s-1
99.936 | 27.03 | -0.064206 | 97.714 | -0.070631 | 0.12331 | 10.1818 | 9.2447 | 1 | -0.021603 | 0.0026803 | 0.0023368
100.073 | 27.53 | -0.14681 | 97.673 | -0.059458 | 0.12339 | 10.1775 | 9.2404 | 0.99954 | -0.021614 | 0.0026794 | 0.0023391
101.308 | 28.03 | -0.7108 | 97.6585 | -0.0030119 | 0.12405 | 10.176 | 9.2389 | 0.99937 | -0.021625 | 0.0026705 | 0.0023407
104.255 | 28.53 | -1.4847 | 97.6619 | 0.016893 | 0.12564 | 10.1764 | 9.2393 | 0.99941 | -0.021636 | 0.0026497 | 0.0023418
108.737 | 29.03 | -2.204 | 97.6697 | 0.013596 | 0.12807 | 10.1772 | 9.2401 | 0.9995 | -0.021647 | 0.0026186 | 0.0023427
114.342 | 29.53 | -2.738 | 97.6749 | -0.00098218 | 0.13113 | 10.1777 | 9.2406 | 0.99956 | -0.021657 | 0.0025807 | 0.0023437
120.623 | 30.03 | -3.0516 | 97.6722 | -0.0049721 | 0.1346 | 10.1774 | 9.2403 | 0.99953 | -0.021667 | 0.0025395 | 0.0023448
127.225 | 30.53 | -3.1977 | 97.6679 | -0.012261 | 0.13828 | 10.177 | 9.2399 | 0.99948 | -0.0015988 | 0.0024977 | 0.00017303
133.895 | 31.03 | -3.2434 | 97.6615 | -0.01819 | 0.14203 | 10.1763 | 9.2392 | 0.99941 | -0.0016833 | 0.0024567 | 0.00018219
140.427 | 31.53 | -3.25 | 97.6487 | -0.025218 | 0.14573 | 10.175 | 9.2379 | 0.99926 | -0.0017118 | 0.0024179 | 0.0001853
146.768 | 32.03 | -3.2548 | 97.6363 | -0.023182 | 0.14934 | 10.1737 | 9.2366 | 0.99912 | -0.0018883 | 0.0023814 | 0.00020444
152.848 | 32.53 | -3.2747 | 97.6225 | -0.034358 | 0.15283 | 10.1723 | 9.2352 | 0.99897 | -0.0020939 | 0.0023474 | 0.00022673
158.716 | 33.03 | -3.3342 | 97.6051 | -0.032152 | 0.15622 | 10.1705 | 9.2333 | 0.99877 | -0.0022527 | 0.0023155 | 0.00024398
164.384 | 33.53 | -3.4137 | 97.5911 | -0.024766 | 0.1595 | 10.169 | 9.2319 | 0.99861 | -0.0023339 | 0.0022855 | 0.00025281
169.889 | 34.03 | -3.5073 | 97.5814 | -0.021172 | 0.16271 | 10.168 | 9.2309 | 0.9985 | -0.0023427 | 0.0022571 | 0.00025379
175.3 | 34.53 | -3.6206 | 97.5691 | -0.022828 | 0.16586 | 10.1667 | 9.2296 | 0.99837 | -0.0023143 | 0.0022299 | 0.00025075
180.614 | 35.03 | -3.7293 | 97.5584 | -0.023061 | 0.16897 | 10.1656 | 9.2285 | 0.99825 | -0.0022604 | 0.0022038 | 0.00024494
185.882 | 35.53 | -3.8556 | 97.548 | -0.024666 | 0.17206 | 10.1645 | 9.2274 | 0.99813 | -0.0021847 | 0.0021785 | 0.00023676
191.105 | 36.03 | -3.9697 | 97.5372 | -0.01348 | 0.17512 | 10.1634 | 9.2263 | 0.99801 | -0.0021121 | 0.002154 | 0.00022892
196.286 | 36.53 | -4.0842 | 97.5294 | -0.014887 | 0.17817 | 10.1626 | 9.2255 | 0.99792 | -0.0020573 | 0.0021302 | 0.000223
201.415 | 37.03 | -4.1977 | 97.5209 | -0.016527 | 0.18118 | 10.1617 | 9.2246 | 0.99782 | -0.0020355 | 0.0021072 | 0.00022066
206.515 | 37.53 | -4.3229 | 97.5135 | -0.013192 | 0.18418 | 10.1609 | 9.2238 | 0.99774 | -0.0020669 | 0.0020848 | 0.00022409
211.596 | 38.03 | -4.4361 | 97.5059 | -0.016222 | 0.18716 | 10.1601 | 9.223 | 0.99765 | -0.0021412 | 0.0020629 | 0.00023216
216.652 | 38.53 | -4.565 | 97.4969 | -0.02085 | 0.19012 | 10.1592 | 9.2221 | 0.99755 | -0.002265 | 0.0020416 | 0.00024561
221.68 | 39.03 | -4.6924 | 97.486 | -0.022216 | 0.19307 | 10.158 | 9.2209 | 0.99743 | -0.0024435 | 0.0020209 | 0.00026499
226.696 | 39.53 | -4.8213 | 97.4758 | -0.018798 | 0.19599 | 10.157 | 9.2199 | 0.99732 | -0.0026854 | 0.0020006 | 0.00029126
231.709 | 40.03 | -4.9605 | 97.4663 | -0.020774 | 0.19891 | 10.156 | 9.2189 | 0.99721 | -0.0030066 | 0.0019808 | 0.00032614
236.696 | 40.53 | -5.0956 | 97.4531 | -0.027565 | 0.2018 | 10.1546 | 9.2175 | 0.99706 | -0.0033997 | 0.0019614 | 0.00036883
241.706 | 41.03 | -5.2352 | 97.4376 | -0.0314 | 0.20469 | 10.153 | 9.2159 | 0.99688 | -0.0038655 | 0.0019423 | 0.00041943
246.675 | 41.53 | -5.3746 | 97.421 | -0.034864 | 0.20756 | 10.1513 | 9.2142 | 0.9967 | -0.0044314 | 0.0019237 | 0.00048093
251.657 | 42.03 | -5.5287 | 97.4032 | -0.052185 | 0.21041 | 10.1494 | 9.2123 | 0.9965 | -0.0051033 | 0.0019055 | 0.00055396
256.622 | 42.53 | -5.6816 | 97.3786 | -0.039904 | 0.21323 | 10.1469 | 9.2098 | 0.99622 | -0.0059002 | 0.0018876 | 0.00064065
261.607 | 43.03 | -5.837 | 97.3536 | -0.056622 | 0.21604 | 10.1442 | 9.2071 | 0.99594 | -0.0068183 | 0.00187 | 0.00074055
266.568 | 43.53 | -5.9961 | 97.3233 | -0.066517 | 0.21883 | 10.1411 | 9.204 | 0.9956 | -0.0078778 | 0.0018528 | 0.00085591
271.54 | 44.03 | -6.1605 | 97.2862 | -0.081242 | 0.2216 | 10.1372 | 9.2001 | 0.99518 | -0.0090844 | 0.0018359 | 0.00098743
276.505 | 44.53 | -6.3371 | 97.248 | -0.079164 | 0.22434 | 10.1332 | 9.1961 | 0.99475 | -0.01045 | 0.0018193 | 0.0011363
281.456 | 45.03 | -6.5123 | 97.2029 | -0.10283 | 0.22705 | 10.1285 | 9.1914 | 0.99424 | -0.011985 | 0.0018031 | 0.0013039
286.417 | 45.53 | -6.6935 | 97.1471 | -0.11144 | 0.22975 | 10.1227 | 9.1856 | 0.99361 | -0.013671 | 0.0017871 | 0.0014884
291.366 | 46.03 | -6.8786 | 97.0828 | -0.1441 | 0.2324 | 10.116 | 9.1789 | 0.99289 | -0.015514 | 0.0017714 | 0.0016901
296.323 | 46.53 | -7.0711 | 97.0069 | -0.16154 | 0.23503 | 10.1081 | 9.171 | 0.99203 | -0.017493 | 0.001756 | 0.0019074
301.276 | 47.03 | -7.2709 | 96.925 | -0.16999 | 0.23763 | 10.0996 | 9.1625 | 0.99111 | -0.0196 | 0.0017409 | 0.0021392
306.224 | 47.53 | -7.4709 | 96.8311 | -0.20008 | 0.2402 | 10.0898 | 9.1527 | 0.99005 | -0.021802 | 0.001726 | 0.002382
311.167 | 48.03 | -7.6798 | 96.7247 | -0.22404 | 0.24273 | 10.0787 | 9.1416 | 0.98885 | -0.024071 | 0.0017114 | 0.0026332
316.131 | 48.53 | -7.8895 | 96.6027 | -0.2547 | 0.24523 | 10.066 | 9.1289 | 0.98747 | -0.026396 | 0.001697 | 0.0028914
321.068 | 49.03 | -8.1077 | 96.4681 | -0.27914 | 0.24768 | 10.052 | 9.1149 | 0.98596 | -0.028712 | 0.0016829 | 0.00315
326.016 | 49.53 | -8.3267 | 96.3254 | -0.29891 | 0.2501 | 10.0371 | 9.1 | 0.98435 | -0.031012 | 0.001669 | 0.0034079
330.967 | 50.03 | -8.5393 | 96.1669 | -0.32963 | 0.25249 | 10.0206 | 9.0835 | 0.98256 | -0.033304 | 0.0016553 | 0.0036665
335.907 | 50.53 | -8.754 | 95.9966 | -0.35545 | 0.25482 | 10.0028 | 9.0657 | 0.98064 | -0.03553 | 0.0016419 | 0.0039191
340.863 | 51.03 | -8.9564 | 95.817 | -0.36436 | 0.25712 | 9.9841 | 9.047 | 0.97862 | -0.037698 | 0.0016286 | 0.0041669
345.804 | 51.53 | -9.1526 | 95.6269 | -0.38665 | 0.25937 | 9.9643 | 9.0272 | 0.97648 | -0.039779 | 0.0016156 | 0.0044065
350.742 | 52.03 | -9.3497 | 95.4286 | -0.41409 | 0.26158 | 9.9437 | 9.0066 | 0.97424 | -0.041772 | 0.0016028 | 0.0046379
355.692 | 52.53 | -9.5356 | 95.2201 | -0.41635 | 0.26374 | 9.9219 | 8.9848 | 0.97189 | -0.043686 | 0.0015902 | 0.0048622
360.647 | 53.03 | -9.7183 | 95.0068 | -0.44472 | 0.26585 | 9.8997 | 8.9626 | 0.96949 | -0.045548 | 0.0015778 | 0.0050821
365.604 | 53.53 | -9.8991 | 94.7812 | -0.47531 | 0.26791 | 9.8762 | 8.9391 | 0.96694 | -0.047384 | 0.0015655 | 0.0053008
370.555 | 54.03 | -10.0817 | 94.5433 | -0.47235 | 0.26993 | 9.8514 | 8.9143 | 0.96426 | -0.049211 | 0.0015535 | 0.0055204
375.502 | 54.53 | -10.2633 | 94.3065 | -0.48429 | 0.27188 | 9.8267 | 8.8896 | 0.96159 | -0.051073 | 0.0015417 | 0.0057452
380.458 | 55.03 | -10.4481 | 94.059 | -0.504 | 0.27379 | 9.8009 | 8.8638 | 0.9588 | -0.05302 | 0.00153 | 0.0059816
385.421 | 55.53 | -10.6316 | 93.8039 | -0.51623 | 0.27565 | 9.7744 | 8.8373 | 0.95593 | -0.055064 | 0.0015184 | 0.0062309
390.385 | 56.03 | -10.8139 | 93.5409 | -0.53462 | 0.27744 | 9.747 | 8.8099 | 0.95296 | -0.057249 | 0.0015071 | 0.0064983
395.343 | 56.53 | -11.01 | 93.2685 | -0.55782 | 0.27918 | 9.7186 | 8.7815 | 0.94989 | -0.059612 | 0.0014959 | 0.0067883
400.309 | 57.03 | -11.206 | 92.9865 | -0.57567 | 0.28086 | 9.6892 | 8.7521 | 0.94671 | -0.062201 | 0.0014849 | 0.007107
405.268 | 57.53 | -11.4151 | 92.6925 | -0.59688 | 0.28248 | 9.6586 | 8.7215 | 0.9434 | -0.06505 | 0.001474 | 0.0074587
410.219 | 58.03 | -11.6292 | 92.3832 | -0.63216 | 0.28404 | 9.6263 | 8.6892 | 0.93991 | -0.068217 | 0.0014633 | 0.0078507
415.197 | 58.53 | -11.855 | 92.06 | -0.66708 | 0.28554 | 9.5927 | 8.6556 | 0.93627 | -0.071774 | 0.0014528 | 0.0082923
420.147 | 59.03 | -12.086 | 91.7176 | -0.69624 | 0.28697 | 9.557 | 8.6199 | 0.93241 | -0.07574 | 0.0014424 | 0.0087867
425.132 | 59.53 | -12.3346 | 91.361 | -0.73419 | 0.28835 | 9.5198 | 8.5827 | 0.92839 | -0.08016 | 0.0014321 | 0.0093397
430.107 | 60.03 | -12.59 | 90.9833 | -0.77038 | 0.28965 | 9.4805 | 8.5434 | 0.92414 | -0.085084 | 0.001422 | 0.009959
435.085 | 60.53 | -12.857 | 90.5825 | -0.83415 | 0.2909 | 9.4387 | 8.5016 | 0.91962 | -0.090575 | 0.001412 | 0.010654
440.047 | 61.03 | -13.1414 | 90.1557 | -0.87825 | 0.29207 | 9.3942 | 8.4571 | 0.91481 | -0.096703 | 0.0014021 | 0.011435
445.018 | 61.53 | -13.4393 | 89.6992 | -0.94863 | 0.29317 | 9.3467 | 8.4096 | 0.90966 | -0.10353 | 0.0013924 | 0.01231
449.991 | 62.03 | -13.7617 | 89.2119 | -1.0033 | 0.29421 | 9.2959 | 8.3588 | 0.90417 | -0.11109 | 0.0013829 | 0.01329
454.965 | 62.53 | -14.0925 | 88.6876 | -1.0974 | 0.29518 | 9.2412 | 8.3041 | 0.89826 | -0.11951 | 0.0013734 | 0.014392
459.937 | 63.03 | -14.4473 | 88.1221 | -1.1639 | 0.29608 | 9.1823 | 8.2452 | 0.89189 | -0.12883 | 0.0013641 | 0.015625
464.914 | 63.53 | -14.8191 | 87.5165 | -1.2617 | 0.2969 | 9.1192 | 8.1821 | 0.88506 | -0.13917 | 0.0013549 | 0.017009
469.887 | 64.03 | -15.2183 | 86.8622 | -1.3636 | 0.29766 | 9.051 | 8.1139 | 0.87769 | -0.15061 | 0.0013458 | 0.018562
474.865 | 64.53 | -15.6397 | 86.1515 | -1.4909 | 0.29834 | 8.977 | 8.0399 | 0.86968 | -0.16368 | 0.0013369 | 0.020358
479.839 | 65.03 | -16.0872 | 85.3785 | -1.6051 | 0.29896 | 8.8964 | 7.9593 | 0.86096 | -0.17808 | 0.001328 | 0.022374
484.815 | 65.53 | -16.5572 | 84.5397 | -1.7508 | 0.2995 | 8.809 | 7.8719 | 0.85151 | -0.1939 | 0.0013193 | 0.024631
489.798 | 66.03 | -17.0581 | 83.6327 | -1.8941 | 0.29997 | 8.7145 | 7.7774 | 0.84129 | -0.21121 | 0.0013107 | 0.027157
494.771 | 66.53 | -17.5792 | 82.6381 | -2.0704 | 0.30036 | 8.6109 | 7.6738 | 0.83007 | -0.23022 | 0.0013022 | 0.03
499.776 | 67.03 | -18.1345 | 81.5639 | -2.2427 | 0.30068 | 8.499 | 7.5619 | 0.81797 | -0.25099 | 0.0012938 | 0.033192
504.74 | 67.53 | -18.726 | 80.3887 | -2.4577 | 0.30093 | 8.3765 | 7.4394 | 0.80472 | -0.27376 | 0.0012855 | 0.036799
509.732 | 68.03 | -19.3474 | 79.1031 | -2.7348 | 0.3011 | 8.2425 | 7.3054 | 0.79023 | -0.2986 | 0.0012773 | 0.040874
514.717 | 68.53 | -20.0093 | 77.5987 | -3.0637 | 0.3012 | 8.0858 | 7.1487 | 0.77327 | -0.32573 | 0.0012692 | 0.045566
519.697 | 69.03 | -20.7069 | 76.0494 | -3.2141 | 0.30123 | 7.9243 | 6.9872 | 0.75581 | -0.35517 | 0.0012613 | 0.050831
524.69 | 69.53 | -21.4363 | 74.3665 | -3.5 | 0.30118 | 7.749 | 6.8119 | 0.73684 | -0.3869 | 0.0012534 | 0.056797
529.677 | 70.03 | -22.2017 | 72.5393 | -3.8305 | 0.30106 | 7.5586 | 6.6215 | 0.71625 | -0.42077 | 0.0012456 | 0.063546
534.667 | 70.53 | -23.0296 | 70.5303 | -4.1809 | 0.30086 | 7.3493 | 6.4122 | 0.6936 | -0.45653 | 0.0012379 | 0.071198
539.659 | 71.03 | -23.9111 | 68.3509 | -4.5694 | 0.30059 | 7.1222 | 6.1851 | 0.66904 | -0.49387 | 0.0012303 | 0.07985
544.656 | 71.53 | -24.8439 | 65.9564 | -4.9764 | 0.30025 | 6.8727 | 5.9356 | 0.64205 | -0.53213 | 0.0012228 | 0.089651
549.643 | 72.03 | -25.8274 | 63.3611 | -5.4504 | 0.29983 | 6.6022 | 5.6651 | 0.6128 | -0.57036 | 0.0012154 | 0.10068
554.643 | 72.53 | -26.8704 | 60.5164 | -5.8925 | 0.29934 | 6.3058 | 5.3687 | 0.58073 | -0.60743 | 0.001208 | 0.11314
559.632 | 73.03 | -27.9135 | 57.4594 | -6.3614 | 0.29878 | 5.9873 | 5.0502 | 0.54628 | -0.64252 | 0.0012008 | 0.12723
564.625 | 73.53 | -28.8902 | 54.1815 | -6.7562 | 0.29815 | 5.6457 | 4.7086 | 0.50933 | -0.67405 | 0.0011936 | 0.14315
569.607 | 74.03 | -29.8357 | 50.7 | -7.1735 | 0.29744 | 5.2829 | 4.3458 | 0.47009 | -0.70097 | 0.0011866 | 0.1613
574.608 | 74.53 | -30.7154 | 47.0283 | -7.507 | 0.29666 | 4.9003 | 3.9632 | 0.4287 | -0.72242 | 0.0011796 | 0.18228
579.596 | 75.03 | -31.455 | 43.1856 | -7.857 | 0.29582 | 4.4999 | 3.5628 | 0.38539 | -0.7379 | 0.0011727 | 0.20711
584.576 | 75.53 | -31.9386 | 39.2391 | -7.9116 | 0.2949 | 4.0887 | 3.1516 | 0.34091 | -0.74559 | 0.0011659 | 0.23658
589.54 | 76.03 | -32.2148 | 35.2751 | -7.9338 | 0.29392 | 3.6757 | 2.7386 | 0.29623 | -0.73781 | 0.0011592 | 0.26941
594.495 | 76.53 | -32.4468 | 31.3688 | -7.6825 | 0.29288 | 3.2686 | 2.3315 | 0.2522 | -0.71366 | 0.0011525 | 0.30609
599.433 | 77.03 | -32.6033 | 27.5772 | -7.4707 | 0.29177 | 2.8735 | 1.9364 | 0.20947 | -0.67571 | 0.001146 | 0.34894
604.348 | 77.53 | -32.1356 | 23.9393 | -7.1135 | 0.2906 | 2.4945 | 1.5574 | 0.16846 | -0.62636 | 0.0011396 | 0.40219
609.253 | 78.03 | -31.4151 | 20.4456 | -6.848 | 0.28938 | 2.1304 | 1.1933 | 0.12908 | -0.56822 | 0.0011333 | 0.47616
614.195 | 78.53 | -30.6408 | 17.1004 | -6.5549 | 0.28808 | 1.7819 | 0.84477 | 0.091378 | -0.5039 | 0.001127 | 0.59649
619.136 | 79.03 | -29.6814 | 13.8939 | -6.2077 | 0.28671 | 1.4477 | 0.51065 | 0.055237 | -0.43606 | 0.0011207 | 0.85393
624.058 | 79.53 | -26.4109 | 11.1688 | -3.7931 | 0.2853 | 1.1638 | 0.22669 | 0.024521 | -0.36734 | 0.0011146 | 1.6205
628.77 | 80.03 | -10.0429 | 10.5042 | -0.060979 | 0.28388 | 1.0945 | 0.15744 | 0.01703 | -0.30012 | 0.0011087 | 1.9063
633.477 | 80.53 | -5.2408 | 10.4953 | -0.03505 | 0.28241 | 1.0936 | 0.15651 | 0.016929 | -0.23643 | 0.001103 | 1.5107
638.394 | 81.03 | -3.6515 | 10.4668 | -0.058551 | 0.28083 | 1.0906 | 0.15354 | 0.016608 | -0.17795 | 0.001097 | 1.159
643.448 | 81.53 | -3.02 | 10.4396 | -0.064096 | 0.27913 | 1.0878 | 0.1507 | 0.016302 | -0.12615 | 0.001091 | 0.83708
648.534 | 82.03 | -2.6793 | 10.4007 | -0.08484 | 0.27737 | 1.0838 | 0.14665 | 0.015863 | -0.082235 | 0.001085 | 0.56075
653.616 | 82.53 | -2.4998 | 10.3562 | -0.092622 | 0.27555 | 1.0791 | 0.14202 | 0.015362 | -0.047385 | 0.001079 | 0.33366
658.69 | 83.03 | -2.3999 | 10.3057 | -0.11218 | 0.27368 | 1.0739 | 0.13676 | 0.014793 | -0.022692 | 0.0010731 | 0.16593
663.74 | 83.53 | -2.3449 | 10.2537 | -0.094917 | 0.27176 | 1.0684 | 0.13134 | 0.014207 | -0.0092127 | 0.0010674 | 0.070145
668.794 | 84.03 | -2.318 | 10.2102 | -0.079452 | 0.26979 | 1.0639 | 0.1268 | 0.013716 | -0.0063512 | 0.0010616 | 0.050087
673.833 | 84.53 | -2.3122 | 10.1764 | -0.051755 | 0.26777 | 1.0604 | 0.12328 | 0.013335 | -0.00602 | 0.001056 | 0.048833
678.872 | 85.03 | -2.3144 | 10.158 | -0.036356 | 0.2657 | 1.0585 | 0.12137 | 0.013128 | -0.0055459 | 0.0010504 | 0.045696
683.904 | 85.53 | -2.3275 | 10.1396 | -0.036175 | 0.26358 | 1.0566 | 0.11945 | 0.012921 | -0.0050014 | 0.0010449 | 0.04187
688.924 | 86.03 | -2.3407 | 10.1219 | -0.032257 | 0.26142 | 1.0547 | 0.11761 | 0.012721 | -0.0043865 | 0.0010394 | 0.037298
693.957 | 86.53 | -2.3598 | 10.1069 | -0.030147 | 0.25921 | 1.0531 | 0.11604 | 0.012552 | -0.0037948 | 0.001034 | 0.032703
698.973 | 87.03 | -2.3781 | 10.0923 | -0.026561 | 0.25697 | 1.0516 | 0.11452 | 0.012388 | -0.0032533 | 0.0010287 | 0.028408
704.002 | 87.53 | -2.4032 | 10.0793 | -0.024146 | 0.25467 | 1.0503 | 0.11316 | 0.01224 | -0.0027974 | 0.0010234 | 0.024721
709.012 | 88.03 | -2.433 | 10.0698 | -0.014005 | 0.25235 | 1.0493 | 0.11218 | 0.012134 | -0.0024452 | 0.0010182 | 0.021798
714.03 | 88.53 | -2.4657 | 10.0609 | -0.022931 | 0.24998 | 1.0483 | 0.11125 | 0.012034 | -0.0021735 | 0.001013 | 0.019537
719.043 | 89.03 | -2.4901 | 10.0505 | -0.01764 | 0.24757 | 1.0473 | 0.11016 | 0.011916 | -0.0019997 | 0.0010079 | 0.018152
724.053 | 89.53 | -2.5218 | 10.0442 | -0.0075689 | 0.24513 | 1.0466 | 0.10951 | 0.011846 | -0.0018356 | 0.0010028 | 0.016762
729.074 | 90.03 | -2.5555 | 10.0392 | -0.021209 | 0.24265 | 1.0461 | 0.10899 | 0.011789 | -0.001701 | 0.00099778 | 0.015608
734.082 | 90.53 | -2.5917 | 10.0272 | -0.017899 | 0.24014 | 1.0448 | 0.10774 | 0.011654 | -0.0016052 | 0.00099282 | 0.014899
739.072 | 91.03 | -2.6283 | 10.0183 | -0.02213 | 0.23761 | 1.0439 | 0.10681 | 0.011554 | -0.0015238 | 0.00098793 | 0.014267
744.0901 | 91.53 | -2.6602 | 10.0119 | -0.011699 | 0.23504 | 1.0432 | 0.10614 | 0.011481 | -0.001481 | 0.00098305 | 0.013953
749.097 | 92.03 | -2.6956 | 10.0083 | 0.0043375 | 0.23244 | 1.0429 | 0.10577 | 0.011441 | -0.0014587 | 0.00097824 | 0.013791
754.106 | 92.53 | -2.731 | 10.0069 | -0.021707 | 0.22982 | 1.0427 | 0.10562 | 0.011425 | -0.0014302 | 0.00097347 | 0.013541
759.116 | 93.03 | -2.764 | 9.9956 | -0.018918 | 0.22717 | 1.0415 | 0.10444 | 0.011297 | -0.0013943 | 0.00096874 | 0.01335
764.118 | 93.53 | -2.791 | 9.9913 | -0.012259 | 0.2245 | 1.0411 | 0.10399 | 0.011249 | -0.0013516 | 0.00096407 | 0.012997
769.135 | 94.03 | -2.8163 | 9.9839 | -0.011957 | 0.2218 | 1.0403 | 0.10322 | 0.011165 | -0.0013009 | 0.00095943 | 0.012603
774.138 | 94.53 | -2.8402 | 9.9749 | -0.023356 | 0.21908 | 1.0394 | 0.10228 | 0.011064 | -0.0012427 | 0.00095485 | 0.01215
779.144 | 95.03 | -2.8645 | 9.9698 | -0.0072702 | 0.21635 | 1.0389 | 0.10176 | 0.011007 | -0.0012104 | 0.0009503 | 0.011895
784.149 | 95.53 | -2.885 | 9.9597 | -0.022468 | 0.2136 | 1.0378 | 0.1007 | 0.010893 | -0.0011983 | 0.00094581 | 0.0119
789.165 | 96.03 | -2.9122 | 9.9527 | -0.0088942 | 0.21083 | 1.0371 | 0.099976 | 0.010814 | -0.0011845 | 0.00094134 | 0.011848
794.158 | 96.53 | -2.9371 | 9.9491 | -0.0078803 | 0.20805 | 1.0367 | 0.099593 | 0.010773 | -0.0011507 | 0.00093694 | 0.011554
799.167 | 97.03 | -2.9625 | 9.9458 | -0.0093013 | 0.20526 | 1.0364 | 0.099256 | 0.010737 | -0.0010898 | 0.00093256 | 0.010979
804.17 | 97.53 | -2.9923 | 9.9448 | 0.00040922 | 0.20246 | 1.0363 | 0.09915 | 0.010725 | -0.0010447 | 0.00092823 | 0.010536
809.178 | 98.03 | -3.0207 | 9.9406 | -0.012523 | 0.19964 | 1.0358 | 0.098712 | 0.010678 | -0.00098152 | 0.00092393 | 0.0099433
814.191 | 98.53 | -3.0567 | 9.9351 | -0.010585 | 0.19681 | 1.0352 | 0.098141 | 0.010616 | -0.00091946 | 0.00091967 | 0.0093687
819.189 | 99.03 | -3.1006 | 9.9293 | -0.012686 | 0.19399 | 1.0346 | 0.097531 | 0.01055 | -0.00086915 | 0.00091547 | 0.0089115
824.189 | 99.53 | -3.1334 | 9.9221 | -0.013837 | 0.19116 | 1.0339 | 0.096785 | 0.010469 | -0.00080437 | 0.0009113 | 0.0083108
829.191 | 100.03 | -3.1831 | 9.9177 | -0.0050104 | 0.18832 | 1.0334 | 0.096323 | 0.010419 | -0.00075246 | 0.00090716 | 0.0078118
834.211 | 100.53 | -3.2307 | 9.9149 | -0.0057374 | 0.18548 | 1.0331 | 0.096029 | 0.010387 | -0.00072385 | 0.00090305 | 0.0075379
839.208 | 101.03 | -3.2827 | 9.9114 | -0.0050727 | 0.18264 | 1.0328 | 0.095669 | 0.010349 | -0.00067372 | 0.00089899 | 0.0070422
844.216 | 101.53 | -3.3394 | 9.9083 | -0.0078576 | 0.1798 | 1.0324 | 0.095347 | 0.010314 | -0.00061809 | 0.00089496 | 0.0064825
849.225 | 102.03 | -3.3991 | 9.9067 | -0.00034119 | 0.17696 | 1.0323 | 0.095177 | 0.010295 | -0.00056337 | 0.00089097 | 0.0059192
854.236 | 102.53 | -3.4572 | 9.9042 | -0.0051848 | 0.17412 | 1.032 | 0.094916 | 0.010267 | -0.00050102 | 0.00088701 | 0.0052786
859.227 | 103.03 | -3.5205 | 9.9015 | -0.01101 | 0.1713 | 1.0317 | 0.094636 | 0.010237 | -0.13175 | 0.0008831 | 1.3922
864.245 | 103.53 | -3.589 | 9.9015 | 0.0079742 | 0.16846 | 1.0317 | 0.094638 | 0.010237 | -0.13295 | 0.0008792 | 1.4048
869.241 | 104.03 | -3.6557 | 9.9013 | -0.0145 | 0.16565 | 1.0317 | 0.094611 | 0.010234 | -0.13305 | 0.00087536 | 1.4062
874.257 | 104.53 | -3.7226 | 9.8961 | 0.0076293 | 0.16283 | 1.0312 | 0.094068 | 0.010175 | -0.13289 | 0.00087153 | 1.4127
879.25 | 105.03 | -3.7973 | 9.8984 | -0.0027084 | 0.16004 | 1.0314 | 0.094308 | 0.010201 | -0.1326 | 0.00086775 | 1.406
884.259 | 105.53 | -3.88 | 9.897 | -0.0092631 | 0.15725 | 1.0313 | 0.094168 | 0.010186 | -0.13225 | 0.000864 | 1.4044
889.273 | 106.03 | -3.9531 | 9.8918 | -0.002513 | 0.15446 | 1.0307 | 0.093628 | 0.010128 | -0.13187 | 0.00086027 | 1.4085
894.265 | 106.53 | -4.0376 | 9.8918 | -0.00064404 | 0.15171 | 1.0307 | 0.093625 | 0.010127 | -0.13148 | 0.00085659 | 1.4043
430.108 | 40 | -12.0141 | 91.0988 | 0.28965 |  | 9.4925 | 8.5554 | 0.92544 | -0.13106 | 0.001422 | 0.015319
432.59 | 40.25 | -12.151 | 90.8373 | 0.29028 |  | 9.4652 | 8.5281 | 0.92249 | -0.13062 | 0.001417 | 0.015316
435.074 | 40.5 | -12.2914 | 90.6048 | 0.29089 |  | 9.441 | 8.5039 | 0.91987 | -0.13018 | 0.001412 | 0.015308
437.557 | 40.75 | -12.4221 | 90.4471 | 0.29149 |  | 9.4246 | 8.4875 | 0.91809 | -0.12972 | 0.001407 | 0.015283
440.043 | 41 | -12.556 | 90.1727 | 0.29207 |  | 9.396 | 8.4589 | 0.915 | -0.12925 | 0.0014021 | 0.01528
442.536 | 41.25 | -12.7015 | 89.9481 | 0.29263 |  | 9.3726 | 8.4355 | 0.91247 | -0.12878 | 0.0013973 | 0.015266
445.027 | 41.5 | -12.8532 | 89.7066 | 0.29317 |  | 9.3474 | 8.4103 | 0.90975 | -0.12829 | 0.0013924 | 0.015254
447.495 | 41.75 | -13.0082 | 89.5279 | 0.2937 |  | 9.3288 | 8.3917 | 0.90773 | -0.12777 | 0.0013876 | 0.015226
449.988 | 42 | -13.1726 | 89.1956 | 0.29421 |  | 9.2942 | 8.3571 | 0.90399 | -0.11246 | 0.0013829 | 0.013457
452.472 | 42.25 | -13.3534 | 88.8982 | 0.2947 |  | 9.2632 | 8.3261 | 0.90063 | -0.11607 | 0.0013781 | 0.013941
454.963 | 42.5 | -13.5339 | 88.6736 | 0.29518 |  | 9.2398 | 8.3027 | 0.8981 | -0.12044 | 0.0013734 | 0.014506
457.454 | 42.75 | -13.7082 | 88.3054 | 0.29564 |  | 9.2014 | 8.2643 | 0.89395 | -0.12523 | 0.0013687 | 0.015153
459.935 | 43 | -13.8956 | 88.016 | 0.29607 |  | 9.1713 | 8.2342 | 0.89069 | -0.12928 | 0.0013641 | 0.0157
462.433 | 43.25 | -14.0912 | 87.7615 | 0.2965 |  | 9.1447 | 8.2076 | 0.88782 | -0.13399 | 0.0013595 | 0.016325
464.917 | 43.5 | -14.2804 | 87.3663 | 0.2969 |  | 9.1036 | 8.1665 | 0.88337 | -0.14049 | 0.0013549 | 0.017203
467.399 | 43.75 | -14.5014 | 87.1188 | 0.29729 |  | 9.0778 | 8.1407 | 0.88058 | -0.14585 | 0.0013503 | 0.017916
469.889 | 44 | -14.7127 | 86.7305 | 0.29766 |  | 9.0373 | 8.1002 | 0.8762 | -0.15083 | 0.0013458 | 0.018621
472.384 | 44.25 | -14.9263 | 86.3732 | 0.29801 |  | 9.0001 | 8.063 | 0.87217 | -0.15661 | 0.0013413 | 0.019423
474.862 | 44.5 | -15.1434 | 85.984 | 0.29834 |  | 8.9595 | 8.0224 | 0.86779 | -0.16318 | 0.0013369 | 0.020341
477.339 | 44.75 | -15.3719 | 85.5868 | 0.29866 |  | 8.9181 | 7.981 | 0.86331 | -0.1692 | 0.0013325 | 0.0212
479.846 | 45 | -15.6077 | 85.2285 | 0.29896 |  | 8.8808 | 7.9437 | 0.85927 | -0.17642 | 0.001328 | 0.022209
482.328 | 45.25 | -15.8524 | 84.8034 | 0.29924 |  | 8.8365 | 7.8994 | 0.85448 | -0.18461 | 0.0013237 | 0.02337
484.809 | 45.5 | -16.1111 | 84.1667 | 0.2995 |  | 8.7702 | 7.8331 | 0.8473 | -0.19287 | 0.0013193 | 0.024622
487.302 | 45.75 | -16.4064 | 83.8543 | 0.29974 |  | 8.7376 | 7.8005 | 0.84378 | -0.20197 | 0.001315 | 0.025893
489.794 | 46 | -16.6761 | 83.3703 | 0.29997 |  | 8.6872 | 7.7501 | 0.83833 | -0.21089 | 0.0013107 | 0.027212
492.29 | 46.25 | -16.9334 | 82.8773 | 0.30017 |  | 8.6358 | 7.6987 | 0.83277 | -0.22026 | 0.0013064 | 0.02861
494.776 | 46.5 | -17.2153 | 82.3243 | 0.30036 |  | 8.5782 | 7.6411 | 0.82654 | -0.22961 | 0.0013022 | 0.03005
497.266 | 46.75 | -17.5123 | 81.8234 | 0.30053 |  | 8.526 | 7.5889 | 0.82089 | -0.23973 | 0.001298 | 0.031589
499.761 | 47 | -17.8171 | 81.2345 | 0.30068 |  | 8.4646 | 7.5275 | 0.81425 | -0.25045 | 0.0012938 | 0.033271
502.248 | 47.25 | -18.146 | 80.5569 | 0.30082 |  | 8.394 | 7.4569 | 0.80662 | -0.26106 | 0.0012897 | 0.035009
504.736 | 47.5 | -18.4732 | 79.9032 | 0.30093 |  | 8.3259 | 7.3888 | 0.79925 | -0.27233 | 0.0012855 | 0.036858
507.226 | 47.75 | -18.8245 | 79.2615 | 0.30103 |  | 8.259 | 7.3219 | 0.79202 | -0.28553 | 0.0012814 | 0.038997
509.723 | 48 | -19.1503 | 78.5499 | 0.3011 |  | 8.1849 | 7.2478 | 0.784 | -0.29789 | 0.0012773 | 0.041101
512.205 | 48.25 | -19.4887 | 77.8603 | 0.30116 |  | 8.113 | 7.1759 | 0.77622 | -0.31092 | 0.0012733 | 0.043328
514.703 | 48.5 | -19.848 | 77.1557 | 0.3012 |  | 8.0396 | 7.1025 | 0.76828 | -0.3239 | 0.0012693 | 0.045603
517.193 | 48.75 | -20.2181 | 76.3483 | 0.30123 |  | 7.9555 | 7.0184 | 0.75918 | -0.33709 | 0.0012653 | 0.04803
519.687 | 49 | -20.593 | 75.516 | 0.30123 |  | 7.8688 | 6.9317 | 0.7498 | -0.3505 | 0.0012613 | 0.050565
522.184 | 49.25 | -20.9788 | 74.6736 | 0.30121 |  | 7.781 | 6.8439 | 0.7403 | -0.36445 | 0.0012573 | 0.053251
524.684 | 49.5 | -21.3754 | 73.7515 | 0.30118 |  | 7.6849 | 6.7478 | 0.72991 | -0.37995 | 0.0012534 | 0.056307
527.179 | 49.75 | -21.7818 | 72.8513 | 0.30113 |  | 7.5911 | 6.654 | 0.71976 | -0.39554 | 0.0012495 | 0.059445
529.675 | 50 | -22.1772 | 71.8902 | 0.30106 |  | 7.491 | 6.5539 | 0.70893 | -0.41179 | 0.0012456 | 0.062832
532.162 | 50.25 | -22.5726 | 70.8583 | 0.30097 |  | 7.3834 | 6.4463 | 0.6973 | -0.42911 | 0.0012418 | 0.066567
534.661 | 50.5 | -23.0002 | 69.8543 | 0.30086 |  | 7.2788 | 6.3417 | 0.68598 | -0.44552 | 0.0012379 | 0.070253
537.162 | 50.75 | -23.4226 | 68.8224 | 0.30074 |  | 7.1713 | 6.2342 | 0.67435 | -0.46244 | 0.0012341 | 0.074177
539.656 | 51 | -23.8584 | 67.6717 | 0.30059 |  | 7.0514 | 6.1143 | 0.66138 | -0.47958 | 0.0012303 | 0.078436
542.14 | 51.25 | -24.3077 | 66.5 | 0.30043 |  | 6.9293 | 5.9922 | 0.64818 | -0.49796 | 0.0012266 | 0.083101
544.65 | 51.5 | -24.7553 | 65.2295 | 0.30025 |  | 6.7969 | 5.8598 | 0.63386 | -0.51668 | 0.0012228 | 0.088173
547.139 | 51.75 | -25.2257 | 64.0379 | 0.30005 |  | 6.6728 | 5.7357 | 0.62043 | -0.53576 | 0.0012191 | 0.09341
549.641 | 52 | -25.6344 | 62.6966 | 0.29983 |  | 6.533 | 5.5959 | 0.60531 | -0.5555 | 0.0012154 | 0.09927
552.136 | 52.25 | -26.0996 | 61.2954 | 0.2996 |  | 6.387 | 5.4499 | 0.58951 | -0.57468 | 0.0012117 | 0.10545
554.635 | 52.5 | -26.5627 | 60.026 | 0.29934 |  | 6.2547 | 5.3176 | 0.57521 | -0.59518 | 0.001208 | 0.11193
557.122 | 52.75 | -27.0294 | 58.5279 | 0.29907 |  | 6.0986 | 5.1615 | 0.55832 | -0.61546 | 0.0012044 | 0.11924
559.622 | 53 | -27.5316 | 57.0788 | 0.29878 |  | 5.9476 | 5.0105 | 0.54199 | -0.63467 | 0.0012008 | 0.12667
562.11 | 53.25 | -28.0267 | 55.4561 | 0.29848 |  | 5.7785 | 4.8414 | 0.5237 | -0.65356 | 0.0011972 | 0.13499
564.618 | 53.5 | -28.5585 | 53.8543 | 0.29815 |  | 5.6116 | 4.6745 | 0.50564 | -0.67162 | 0.0011936 | 0.14368
567.108 | 53.75 | -29.1119 | 52.2445 | 0.2978 |  | 5.4439 | 4.5068 | 0.4875 | -0.68949 | 0.0011901 | 0.15299
569.599 | 54 | -29.6649 | 50.489 | 0.29744 |  | 5.261 | 4.3239 | 0.46771 | -0.70586 | 0.0011866 | 0.16325
572.091 | 54.25 | -30.2592 | 48.8433 | 0.29706 |  | 5.0895 | 4.1524 | 0.44916 | -0.71961 | 0.0011831 | 0.1733
574.583 | 54.5 | -30.8185 | 46.9621 | 0.29667 |  | 4.8934 | 3.9563 | 0.42796 | -0.73215 | 0.0011796 | 0.18506
577.078 | 54.75 | -31.3109 | 45.1307 | 0.29625 |  | 4.7026 | 3.7655 | 0.40732 | -0.74137 | 0.0011762 | 0.19688
579.562 | 55 | -31.601 | 43.3333 | 0.29582 |  | 4.5153 | 3.5782 | 0.38706 | -0.74704 | 0.0011727 | 0.20877
582.054 | 55.25 | -31.6164 | 41.48 | 0.29537 |  | 4.3222 | 3.3851 | 0.36617 | -0.74987 | 0.0011693 | 0.22152
584.531 | 55.5 | -31.4364 | 39.6257 | 0.29491 |  | 4.129 | 3.1919 | 0.34527 | -0.75077 | 0.0011659 | 0.23521
587.012 | 55.75 | -31.1432 | 37.7186 | 0.29443 |  | 3.9303 | 2.9932 | 0.32377 | -0.74935 | 0.0011626 | 0.25035
589.493 | 56 | -30.7397 | 35.8044 | 0.29393 |  | 3.7308 | 2.7937 | 0.3022 | -0.74639 | 0.0011592 | 0.26717
591.948 | 56.25 | -30.3411 | 34.1048 | 0.29342 |  | 3.5537 | 2.6166 | 0.28304 | -0.74092 | 0.0011559 | 0.28316
594.406 | 56.5 | -29.8886 | 32.2555 | 0.2929 |  | 3.361 | 2.4239 | 0.2622 | -0.73313 | 0.0011527 | 0.30246
596.861 | 56.75 | -29.7188 | 30.4601 | 0.29236 |  | 3.1739 | 2.2368 | 0.24196 | -0.72488 | 0.0011494 | 0.32407
599.309 | 57 | -29.5979 | 28.8832 | 0.2918 |  | 3.0096 | 2.0725 | 0.22419 | -0.71598 | 0.0011462 | 0.34546
601.776 | 57.25 | -29.3701 | 27.1557 | 0.29122 |  | 2.8296 | 1.8925 | 0.20471 | -0.70524 | 0.001143 | 0.37264
604.253 | 57.5 | -29.2947 | 25.4761 | 0.29063 |  | 2.6546 | 1.7175 | 0.18578 | -0.6933 | 0.0011397 | 0.40367
606.722 | 57.75 | -29.2087 | 23.8154 | 0.29002 |  | 2.4816 | 1.5445 | 0.16706 | -0.6795 | 0.0011365 | 0.43996
609.208 | 58 | -29.1307 | 22.0609 | 0.28939 |  | 2.2987 | 1.3616 | 0.14729 | -0.66473 | 0.0011333 | 0.48818
611.688 | 58.25 | -29.017 | 20.5679 | 0.28874 |  | 2.1432 | 1.2061 | 0.13046 | -0.64841 | 0.0011302 | 0.53762
614.187 | 58.5 | -28.7363 | 18.9651 | 0.28808 |  | 1.9762 | 1.0391 | 0.1124 | -0.62707 | 0.001127 | 0.6035
616.654 | 58.75 | -28.3534 | 17.4012 | 0.28741 |  | 1.8132 | 0.8761 | 0.094768 | -0.59802 | 0.0011238 | 0.68259
619.15 | 59 | -27.3254 | 15.8473 | 0.28671 |  | 1.6513 | 0.71419 | 0.077254 | -0.56112 | 0.0011207 | 0.78567
621.626 | 59.25 | -25.4309 | 14.4341 | 0.286 |  | 1.504 | 0.56694 | 0.061325 | -0.5169 | 0.0011176 | 0.91175
624.092 | 59.5 | -23.9063 | 13.0519 | 0.28529 |  | 1.36 | 0.42291 | 0.045746 | -0.46779 | 0.0011145 | 1.1061
626.547 | 59.75 | -22.4047 | 11.8134 | 0.28456 |  | 1.231 | 0.29385 | 0.031786 | -0.41544 | 0.0011115 | 1.4138
629.002 | 60 | -20.9435 | 10.6008 | 0.28381 |  | 1.1046 | 0.1675 | 0.018119 | -0.36106 | 0.0011085 | 2.1555
631.465 | 60.25 | -19.1352 | 9.5549 | 0.28305 |  | 0.99562 | 0.05852 | 0.0063301 | -0.30815 | 0.0011054 | 5.2657
633.898 | 60.5 | -15.5138 | 8.7984 | 0.28228 |  | 0.91679 | -0.020307 | -0.0021966 | -0.2552 | 0.0011025 | -12.5669
636.265 | 60.75 | -8.774 | 8.6607 | 0.28152 |  | 0.90244 | -0.034658 | -0.0037489 | -0.20493 | 0.0010996 | -5.9129
638.622 | 61 | -5.8667 | 8.6906 | 0.28075 |  | 0.90556 | -0.031538 | -0.0034115 | -0.15842 | 0.0010968 | -5.023
641.029 | 61.25 | -4.4031 | 8.6387 | 0.27995 |  | 0.90016 | -0.036945 | -0.0039963 | -0.11767 | 0.0010939 | -3.185
643.468 | 61.5 | -3.6014 | 8.6507 | 0.27913 |  | 0.9014 | -0.035698 | -0.0038614 | -0.082138 | 0.001091 | -2.3009
645.97 | 61.75 | -3.1032 | 8.6237 | 0.27827 |  | 0.89859 | -0.038506 | -0.0041652 | -0.054148 | 0.001088 | -1.4062
648.485 | 62 | -2.7582 | 8.6337 | 0.27739 |  | 0.89963 | -0.037466 | -0.0040527 | -0.032715 | 0.001085 | -0.87318
651.028 | 62.25 | -2.4911 | 8.5299 | 0.27649 |  | 0.88882 | -0.048281 | -0.0052225 | -0.018855 | 0.001082 | -0.39053
653.556 | 62.5 | -2.2856 | 8.523 | 0.27557 |  | 0.88809 | -0.049008 | -0.0053012 | -0.012488 | 0.0010791 | -0.25482
656.105 | 62.75 | -2.1303 | 8.493 | 0.27464 |  | 0.88497 | -0.052129 | -0.0056388 | -0.011848 | 0.0010761 | -0.22728
658.626 | 63 | -2.0141 | 8.483 | 0.2737 |  | 0.88393 | -0.053168 | -0.0057512 | -0.012189 | 0.0010732 | -0.22926
661.17 | 63.25 | -1.9316 | 8.4112 | 0.27274 |  | 0.87644 | -0.060656 | -0.0065611 | -0.011837 | 0.0010703 | -0.19514
663.695 | 63.5 | -1.8659 | 8.4331 | 0.27178 |  | 0.87873 | -0.058367 | -0.0063136 | -0.011471 | 0.0010674 | -0.19652
666.23 | 63.75 | -1.8266 | 8.3154 | 0.27079 |  | 0.86646 | -0.070639 | -0.007641 | -0.010872 | 0.0010645 | -0.15391
668.752 | 64 | -1.7913 | 8.3144 | 0.2698 |  | 0.86636 | -0.070742 | -0.0076522 | -0.010353 | 0.0010617 | -0.14635
671.277 | 64.25 | -1.7771 | 8.3144 | 0.2688 |  | 0.86636 | -0.070742 | -0.0076522 | -0.0091605 | 0.0010588 | -0.12949
673.801 | 64.5 | -1.7656 | 8.2884 | 0.26778 |  | 0.86365 | -0.073447 | -0.0079448 | -0.0080206 | 0.001056 | -0.1092
676.313 | 64.75 | -1.7635 | 8.2804 | 0.26675 |  | 0.86282 | -0.074279 | -0.0080347 | -0.0071867 | 0.0010532 | -0.096752
678.836 | 65 | -1.7625 | 8.2505 | 0.26571 |  | 0.8597 | -0.077398 | -0.0083721 | -0.0061029 | 0.0010504 | -0.078852
681.348 | 65.25 | -1.7667 | 8.2505 | 0.26466 |  | 0.8597 | -0.077399 | -0.0083722 | -0.0052527 | 0.0010477 | -0.067865
683.865 | 65.5 | -1.7691 | 8.2555 | 0.2636 |  | 0.86022 | -0.076879 | -0.008316 | -0.0045512 | 0.0010449 | -0.0592
686.388 | 65.75 | -1.772 | 8.2226 | 0.26252 |  | 0.85679 | -0.08031 | -0.0086871 | -0.0030545 | 0.0010422 | -0.038034
688.896 | 66 | -1.7746 | 8.1896 | 0.26143 |  | 0.85336 | -0.083742 | -0.0090584 | -0.0035316 | 0.0010395 | -0.042172
691.408 | 66.25 | -1.7826 | 8.2066 | 0.26034 |  | 0.85513 | -0.081974 | -0.0088671 | -0.0032542 | 0.0010367 | -0.039698
693.924 | 66.5 | -1.7849 | 8.2635 | 0.25923 |  | 0.86105 | -0.076046 | -0.0082259 | -0.0027159 | 0.001034 | -0.035713
696.437 | 66.75 | -1.7898 | 8.2006 | 0.25811 |  | 0.8545 | -0.082598 | -0.0089346 | -0.0024967 | 0.0010314 | -0.030227
698.948 | 67 | -1.7957 | 8.2246 | 0.25698 |  | 0.857 | -0.080101 | -0.0086646 | -0.0018779 | 0.0010287 | -0.023444
701.455 | 67.25 | -1.8071 | 8.1737 | 0.25584 |  | 0.85169 | -0.085406 | -0.0092384 | -0.002149 | 0.0010261 | -0.025162
703.966 | 67.5 | -1.8128 | 8.1976 | 0.25469 |  | 0.85419 | -0.08291 | -0.0089683 | -0.002042 | 0.0010234 | -0.024629
706.483 | 67.75 | -1.8187 | 8.2435 | 0.25352 |  | 0.85897 | -0.078126 | -0.0084509 | -0.00090626 | 0.0010208 | -0.0116
708.984 | 68 | -1.8256 | 8.1108 | 0.25236 |  | 0.84514 | -0.091956 | -0.0099469 | -0.0016842 | 0.0010182 | -0.018315
711.497 | 68.25 | -1.8372 | 8.1786 | 0.25118 |  | 0.85222 | -0.084885 | -0.0091821 | -0.0018035 | 0.0010156 | -0.021247
714.005 | 68.5 | -1.8384 | 8.1936 | 0.24999 |  | 0.85378 | -0.083325 | -0.0090133 | -0.0015354 | 0.001013 | -0.018427
716.509 | 68.75 | -1.8477 | 8.1687 | 0.24879 |  | 0.85118 | -0.085925 | -0.0092945 | -0.00097879 | 0.0010104 | -0.011391
719.023 | 69 | -1.8573 | 8.2116 | 0.24758 |  | 0.85565 | -0.081454 | -0.0088109 | -0.00090952 | 0.0010079 | -0.011166
721.53 | 69.25 | -1.8731 | 8.1278 | 0.24636 |  | 0.84691 | -0.090189 | -0.0097558 | -0.00024987 | 0.0010053 | -0.0027705
724.028 | 69.5 | -1.888 | 8.1587 | 0.24514 |  | 0.85014 | -0.086965 | -0.009407 | -0.0009452 | 0.0010028 | -0.010869
726.53 | 69.75 | -1.8996 | 8.2675 | 0.24391 |  | 0.86147 | -0.07563 | -0.0081809 | -0.00056589 | 0.0010003 | -0.0074823
729.046 | 70 | -1.9088 | 8.0719 | 0.24266 |  | 0.84109 | -0.096013 | -0.010386 | -0.00042619 | 0.00099781 | -0.0044389
731.545 | 70.25 | -1.9223 | 8.1707 | 0.24142 |  | 0.85138 | -0.085718 | -0.0092721 | -0.0012061 | 0.00099533 | -0.01407
734.054 | 70.5 | -1.9324 | 8.1966 | 0.24016 |  | 0.85409 | -0.083014 | -0.0089796 | -0.0011276 | 0.00099285 | -0.013583
736.556 | 70.75 | -1.9484 | 8.1667 | 0.23889 |  | 0.85097 | -0.086134 | -0.0093171 | -0.0010471 | 0.00099039 | -0.012156
739.056 | 71 | -1.9609 | 8.1657 | 0.23762 |  | 0.85086 | -0.086238 | -0.0093284 | -0.00059539 | 0.00098794 | -0.0069041
741.545 | 71.25 | -1.9714 | 8.2066 | 0.23635 |  | 0.85513 | -0.081974 | -0.0088671 | -0.00052301 | 0.00098552 | -0.0063802
744.06 | 71.5 | -1.9796 | 8.0958 | 0.23505 |  | 0.84358 | -0.093516 | -0.010116 | -0.0011256 | 0.00098308 | -0.012037
746.551 | 71.75 | -1.9799 | 8.1906 | 0.23376 |  | 0.85346 | -0.083637 | -0.009047 | -0.00086263 | 0.00098068 | -0.010314
749.058 | 72 | -1.9926 | 8.1088 | 0.23246 |  | 0.84494 | -0.092165 | -0.0099695 | -0.00059955 | 0.00097827 | -0.0065052
751.575 | 72.25 | -1.9958 | 8.1288 | 0.23115 |  | 0.84702 | -0.090085 | -0.0097445 | -0.0016466 | 0.00097587 | -0.018278
754.067 | 72.5 | -2.0023 | 8.1597 | 0.22984 |  | 0.85024 | -0.086862 | -0.0093959 | -0.0020137 | 0.0009735 | -0.023182
756.568 | 72.75 | -2.0095 | 8.1407 | 0.22852 |  | 0.84826 | -0.088838 | -0.0096096 | -0.0018291 | 0.00097114 | -0.02059
759.07 | 73 | -2.013 | 8.2076 | 0.22719 |  | 0.85523 | -0.08187 | -0.0088559 | -0.0018771 | 0.00096879 | -0.022928
761.576 | 73.25 | -2.015 | 8.1178 | 0.22586 |  | 0.84587 | -0.091229 | -0.0098683 | -0.0018017 | 0.00096644 | -0.019749
764.074 | 73.5 | -2.0253 | 8.1178 | 0.22452 |  | 0.84587 | -0.09123 | -0.0098684 | -0.0011859 | 0.00096411 | -0.012999
766.582 | 73.75 | -2.0235 | 8.1876 | 0.22317 |  | 0.85315 | -0.083951 | -0.0090809 | -0.0019342 | 0.00096179 | -0.02304
769.091 | 74 | -2.0308 | 8.0689 | 0.22182 |  | 0.84078 | -0.096324 | -0.010419 | -0.0011389 | 0.00095947 | -0.011824
771.587 | 74.25 | -2.0336 | 8.1038 | 0.22047 |  | 0.84442 | -0.092685 | -0.010026 | -0.0022919 | 0.00095718 | -0.024728
774.097 | 74.5 | -2.0383 | 8.0798 | 0.21911 |  | 0.84192 | -0.095181 | -0.010296 | -0.0022246 | 0.00095488 | -0.023372
776.598 | 74.75 | -2.0425 | 8.1068 | 0.21774 |  | 0.84473 | -0.092373 | -0.009992 | -0.0024071 | 0.00095261 | -0.026058
779.106 | 75 | -2.0462 | 8.1008 | 0.21637 |  | 0.8441 | -0.092997 | -0.01006 | -0.0019656 | 0.00095034 | -0.021136
781.599 | 75.25 | -2.0476 | 8.1088 | 0.215 |  | 0.84493 | -0.092166 | -0.0099696 | -0.00094909 | 0.00094809 | -0.010298
784.116 | 75.5 | -2.0498 | 8.1218 | 0.21362 |  | 0.84629 | -0.090813 | -0.0098233 | -0.0012446 | 0.00094584 | -0.013706
786.609 | 75.75 | -2.0566 | 8.0689 | 0.21225 |  | 0.84078 | -0.096325 | -0.01042 | -0.0010592 | 0.00094361 | -0.010996
789.12 | 76 | -2.0607 | 8.1477 | 0.21085 |  | 0.84899 | -0.088109 | -0.0095308 | 0.00032118 | 0.00094138 | 0.0036453
791.613 | 76.25 | -2.0642 | 7.996 | 0.20947 |  | 0.83318 | -0.10392 | -0.011241 | 0.00049048 | 0.00093918 | 0.0047199
794.117 | 76.5 | -2.0696 | 8.1088 | 0.20808 |  | 0.84494 | -0.092165 | -0.0099695 | 0.00060367 | 0.00093697 | 0.0065499
796.624 | 76.75 | -2.0721 | 8.0409 | 0.20668 |  | 0.83786 | -0.099237 | -0.010734 | 2.9677e-05 | 0.00093478 | 0.00029905
799.124 | 77 | -2.0686 | 8.1238 | 0.20528 |  | 0.8465 | -0.090605 | -0.0098007 | -0.00028128 | 0.0009326 | -0.0031045
801.615 | 77.25 | -2.0754 | 8.1168 | 0.20389 |  | 0.84577 | -0.091333 | -0.0098795 | -0.00089612 | 0.00093044 | -0.0098115
804.126 | 77.5 | -2.0818 | 8.0459 | 0.20248 |  | 0.83838 | -0.098716 | -0.010678 | -0.000626 | 0.00092827 | -0.0063414
806.629 | 77.75 | -2.0846 | 8.0958 | 0.20107 |  | 0.84358 | -0.093517 | -0.010116 | -0.00090941 | 0.00092612 | -0.0097245
809.138 | 78 | -2.0844 | 8.1607 | 0.19966 |  | 0.85034 | -0.086758 | -0.0093846 | -0.0013723 | 0.00092397 | -0.015818
811.628 | 78.25 | -2.0934 | 8.1427 | 0.19826 |  | 0.84847 | -0.088629 | -0.009587 | -0.0010613 | 0.00092185 | -0.011975
814.128 | 78.5 | -2.1015 | 8.1058 | 0.19685 |  | 0.84462 | -0.092477 | -0.010003 | -0.0020095 | 0.00091973 | -0.02173
816.633 | 78.75 | -2.1014 | 8.0489 | 0.19544 |  | 0.8387 | -0.098404 | -0.010644 | -0.0017312 | 0.00091761 | -0.017593
819.123 | 79 | -2.1063 | 8.0469 | 0.19403 |  | 0.83849 | -0.098613 | -0.010667 | -0.0028945 | 0.00091552 | -0.029352
821.638 | 79.25 | -2.1128 | 8.009 | 0.1926 |  | 0.83454 | -0.10256 | -0.011094 | -0.0027875 | 0.00091342 | -0.027178
824.133 | 79.5 | -2.1167 | 8.0968 | 0.19119 |  | 0.84369 | -0.093413 | -0.010104 | -0.0028007 | 0.00091134 | -0.029982
826.651 | 79.75 | -2.1208 | 8.013 | 0.18976 |  | 0.83495 | -0.10215 | -0.011049 | -0.0031167 | 0.00090926 | -0.030511
829.142 | 80 | -2.1281 | 8.0369 | 0.18835 |  | 0.83745 | -0.099653 | -0.010779 | -0.0029138 | 0.0009072 | -0.02924
831.651 | 80.25 | -2.1409 | 8.0389 | 0.18693 |  | 0.83766 | -0.099444 | -0.010757 | -0.0017964 | 0.00090514 | -0.018064
834.15 | 80.5 | -2.1512 | 8.0419 | 0.18551 |  | 0.83797 | -0.099133 | -0.010723 | -0.0010705 | 0.0009031 | -0.010798
836.652 | 80.75 | -2.159 | 8.0709 | 0.18409 |  | 0.84098 | -0.096117 | -0.010397 | -0.00049643 | 0.00090106 | -0.0051649
839.146 | 81 | -2.1723 | 7.9661 | 0.18267 |  | 0.83006 | -0.10704 | -0.011578 | -0.00038524 | 0.00089904 | -0.0035992
841.652 | 81.25 | -2.188 | 8.019 | 0.18125 |  | 0.83558 | -0.10153 | -0.010982 | -0.00014971 | 0.00089702 | -0.0014746
844.155 | 81.5 | -2.1873 | 7.999 | 0.17983 |  | 0.8335 | -0.1036 | -0.011207 | -0.0014426 | 0.00089501 | -0.013924
846.663 | 81.75 | -2.1998 | 8.0269 | 0.17841 |  | 0.83641 | -0.10069 | -0.010892 | -0.00070646 | 0.00089301 | -0.007016
849.159 | 82 | -2.2117 | 8.0319 | 0.17699 |  | 0.83693 | -0.10017 | -0.010836 | -0.00041691 | 0.00089102 | -0.0041619
851.673 | 82.25 | -2.219 | 8.0629 | 0.17557 |  | 0.84015 | -0.096949 | -0.010487 | -0.00030473 | 0.00088903 | -0.0031433
854.171 | 82.5 | -2.2335 | 8.023 | 0.17415 |  | 0.83599 | -0.10111 | -0.010937 | -0.0002115 | 0.00088706 | -0.0020918
856.659 | 82.75 | -2.2416 | 8.031 | 0.17275 |  | 0.83682 | -0.10028 | -0.010847 | -3.3999e-05 | 0.00088511 | -0.00033906
859.175 | 83 | -2.2544 | 8.029 | 0.17132 |  | 0.83662 | -0.10048 | -0.010869 | 0.00063006 | 0.00088314 | 0.0062702
861.667 | 83.25 | -2.2591 | 8.0439 | 0.16992 |  | 0.83818 | -0.098924 | -0.010701 | -5.2421e-05 | 0.0008812 | -0.00052991
864.187 | 83.5 | -2.2744 | 7.8992 | 0.1685 |  | 0.8231 | -0.114 | -0.012332 | -0.00013377 | 0.00087925 | -0.0011734
866.676 | 83.75 | -2.2973 | 8.0349 | 0.16709 |  | 0.83724 | -0.09986 | -0.010802 | -0.00071462 | 0.00087733 | -0.0071563
869.178 | 84 | -2.3198 | 8.0669 | 0.16569 |  | 0.84057 | -0.096533 | -0.010442 | -0.00089743 | 0.00087541 | -0.0092967
871.685 | 84.25 | -2.3382 | 8.025 | 0.16428 |  | 0.8362 | -0.1009 | -0.010914 | -0.00098448 | 0.00087349 | -0.009757